Please note, the sign width measurement is always shown first eg

300x100mm is…                    300mm wide

Measurement Conversion

Using the millimetres converter of x 0.03937, the equivalent inches of our signs are:

| mm Width x Height | inches Width x Height |  | mm Width x Height | inches Width x Height |
| --- | --- | --- | --- | --- |
| 75 x 100mm | 2.95 x 3.94 inches |  | 250 x 300mm | 9.84 x 11.81 inches |
| 75 x 200mm | 2.95 x 7.87 inches |  | 300 x 100mm | 11.81 x 3.94 inches |
| 80 x 80mm | 3.15 x 3.15 inches |  | 300 x 150mm | 11.81 x 5.91 inches |
| 100 x 100mm | 3.94 x 3.94 inches |  | 300 x 400mm | 11.81 x 15.75 inches |
| 100 x 150mm | 3.94 x 5.91 inches |  | 400 x 200mm | 15.75 x 7.87 inches |
| 150 x 150mm | 5.91 x 5.91 inches |  | 400 x 400mm | 15.75 x 15.75 inches |
| 150 x 200mm | 5.91 x 7.87 inches |  | 450 x 150mm | 17.72 x 5.91 inches |
| 178 x 203mm | 7.01 x 7.99 inches |  | 600 x 200mm | 23.62 x 7.87 inches |
| 200 x 100mm | 7.87 x 3.94 inches |  | 600 x 400mm | 23.62 x 15.75 inches |
| 200 x 200mm | 7.87 x 7.87 inches |  | 600 x 450mm | 23.62 x 17.72 inches |
| 210 x 210mm | 8.27 x 8.27 inches |  | 900 x 600mm | 35.43 x 23.62 inches |

Viewing distances

Under different lighting conditions the following may help you decide which size you need:

| Size | 300x100mm | 450x150mm | 600x200mm |
| --- | --- | --- | --- |
| Poor Light | 6.6m | 11.4m | 15.2m |
| Good Light | 11.9m | 20.4m | 27.2m |

Materials Guide

- Only choose self adhesive vinyl if you are affixing the sign to smooth, flat, clean surfaces like glass, mirrors, tiles or well-finished doors

- Rigid Plastic is suitable for almost every application, although you will require glue or our double sided-sticky pads to affix the sign (see the Accessories section within the Safety Sign section of our website)

- Aluminium signs are ideal for outside use. However, please note they do not come with channelling on the rear unless requested. This will be at an extra cost.

- Photoluminescent signs are ideal for emergency situations where the sign still needs to be read even if the lights fail in the event of a fire or emergency

Drill Holes

If you need drill hole in you rigid plastic or aluminium signs, please ring us or email us straight after placing your order. We will happily put these in at no extra cost….we just need to be told without delay!

Specials

- If you cannot find the sign you are looking for, we can make a special. Use the price guide on our website to see how much individual specials will cost. If there are lots of the same design, email or ring us as multiples of any special sign usually bring the price down.

# Text boxes

100mm high